|  | EUROPEAN COMMISSION ENTERPRISE DIRECTORATE-GENERAL Conformity and standardisation, new approach, industries under new approach Construction | CONSTRUCT 01/454 |
| --- | --- | --- |

SCC consulted 52nd meeting May 2001

CORRECTION TO:

MANDATE TO CEN/CENELEC

CONCERNING THE EXECUTION OF STANDARDISATION WORK

FOR HARMONISED STANDARDS ON

M110 - SANITARY APPLIANCES

Certain inconsistencies appear between Annex II and Annex III of this mandate, and therefore correction is needed. This does not constitute changes to the content of the mandate – just simple correction.

- The tables in Annex 3 does not currently include the intended use “preparation of food, the washing of dishes and the discharge of domestic waste water” for Sinks.

- The corresponding Commission Decision 96/578/EC will be amended accordingly.

Annex A to this document outlines the changes needed.

ANNEX A

In Annex 3 to the mandate  - Table 1 /1 “Sanitary appliances, the table currently reads:-

| Product(s) | Intended use(s) | Level(s) or class(es) (Reaction to fire) | Attestation of conformity system(s) |
| --- | --- | --- | --- |
| Sinks, basins and communal troughs; bath tubs and shower trays; bidets; urinals; water closet bowls or pans; earth, chemical and composting closets; macerating toilets; squatting toilets; flushing cisterns; whirlpool baths; shower and bath screens and enclosures |  |  |  |
|  | Personal hygiene | ------ | 4 |
| preformed toilet modules | Personal hygiene | ------ | 4 |
| modular public toilets, and prefabricated toilet pods | Personal hygiene | A1*, A2*, B*, C* ---------- A1**, A2**, B**, C**, D, E ------------- (A1 to E)***, F | 1 ------- 3 ------- 4 |
| System 1: See CPD Annex III.2.(I), without audit-testing of samples System 3: See CPD Annex III.2.(ii), Second possibility System 4: See CPD Annex III.2.(ii), Third possibility * Products/ materials for which a clearly identifiable stage in the production process results in an improvement of the reaction to fire classification (e.g. an addition of fire retardants or a limiting of organic material) ** Products/ materials not covered by footnote (*). *** Products/ materials that do not require to be tested for reaction to fire (e.g. Products/materials of class A1 according to the Decision 96/603/EC, as amended). |  |  |  |

It should read:-

| Product(s) | Intended use(s) | Level(s) or class(es) (Reaction to fire) | Attestation of conformity system(s) |
| --- | --- | --- | --- |
| Sinks | Preparation of food, the washing of dishes and the discharge of domestic waste water |  | 4 |
| Basins and communal troughs; bath tubs and shower trays; bidets; Urinals; water closet bowls or pans; earth, chemical and composting closets; macerating toilets; squatting toilets; flushing cisterns; whirlpool baths; Shower and bath screens and enclosures |  |  |  |
|  | Personal hygiene | ------ | 4 |
| Pre-formed toilet modules | Personal hygiene | ------ | 4 |
| Modular public toilets, and prefabricated toilet pods | Personal hygiene | A1*, A2*, B*, C* ---------- A1**, A2**, B**, C**, D, E ------------- (A1 to E)***, F | 1 ------- 3 ------- 4 |
| System 1: See CPD Annex III.2.(i), without audit-testing of samples System 3: See CPD Annex III.2.(ii), Second possibility System 4: See CPD Annex III. 2.(ii), Third possibility * Products/ materials for which a clearly identifiable stage in the production process results in an improvement of the reaction to fire classification (e.g. an addition of fire retardants or a limiting of organic material) ** Products/ materials not covered by footnote (*). *** Products/ materials that do not require to be tested for reaction to fire (e.g. Products/materials of class A1 according to the Decision 96/603/EC, as amended). |  |  |  |

For reaction to fire, see Commission Decision 94/611/EC

For reaction to fire, see  Commission Decision 94/611/EC as amended by 2000/147/EC