EN

|  | EUROPEAN COMMISSION |
| --- | --- |

Brussels,

C(20..)

COMMISSION DECISION

of xx/xx/20..

establishing the classes of reaction-to-fire performance for certain construction products

(Text with EEA relevance)

Draft

COMMISSION DECISION

of xx/xx/20..

establishing the classes of reaction-to-fire performance for certain construction products


(Text with EEA relevance)

THE EUROPEAN COMMISSION,

Having regard to the Treaty on the Functioning of the European Union,

Having regard to Council Directive 89/106/EEC of 21 December 1988, on the approximation of laws, regulations and administrative provisions of the Member States relating to construction products, as amended by Directive 93/68/EEC, and in particular Article 20(2) thereof ,

After consulting the Standing Committee on Construction,

Whereas:

- Directive 89/106/EEC envisages that in order to take account of the different levels of protection for construction works at national, regional or local level, it may be necessary to establish in the interpretative documents classes corresponding to the performance of products in respect of each essential requirement. Those documents have been published as the ‘Communication of the Commission with regard to the interpretative documents of Council Directive 89/106/EEC.

- With respect to the essential requirement of safety in the event of fire, interpretative document No 2 lists a number of interrelated measures which together define the fire safety strategy to be variously developed in the Member States.

- Interpretative document No 2 identifies one of those measures as the limitation of the generation and spread of fire and smoke within a given area by limiting the potential of construction products to contribute to the full development of a fire.

- The level of that limitation may be expressed only in terms of the different levels of reaction-to-fire performance of the products in their end-use application.

- By way of a harmonised solution, a system of classes was adopted in Commission Decision 2000/147/EC of 8 February 2000 implementing Council Directive 89/106/EEC as regards the classification of the reaction-to-fire performance of construction products.

- In the case of certain accessories for the gypsum products, it is necessary to use the classification established in Decision 2000/147/EC.

- The reaction-to-fire performance of many construction products and/or materials, within the classification provided for in Decision 2000/147/EC, is well established and sufficiently well known to fire regulators in Member States that they do not require testing for this particular performance characteristic.

HAS ADOPTED THIS DECISION:

- Article 1

Lath and beads for internal plastering (EN 13658-1) and for external rendering (EN 13658-1) with an exposed surface containing organic material for uses which are subject to reaction to fire regulations, shall, on account of their limited exposure be classified in Class E as provided for in Decision 2000/147/EC. For the purpose of this classification no reaction-to-fire testing of those products shall be required.

For the purpose of classification in classes other than classes E and F of the Decision 2000/147/EC reaction-to-fire testing of those products shall be required.

- Article 2

This Decision is addressed to the Member States.

Done at Brussels, […]

For the Commission

Antonio TAJANI

Vice-President

OJ L 40, 11.2.1989, p. 12.

OJ L 50, 23.2.2000, p. 14.