EN

|  | EUROPEAN COMMISSION |
| --- | --- |

Brussels,

C(20..)

COMMISSION IMPLEMENTING DECISION

of xx/xx/20..

amending Commission Decision 2000/147/EC of 8 February 2000 as regards the classification of the reaction-to-fire performance of construction products

(Text with EEA relevance)

COMMISSION IMPLEMENTING DECISION

of xx/xx/20..

amending Commission Decision 2000/147/EC of 8 February 2000 as regards the classification of the reaction-to-fire performance of construction products


(Text with EEA relevance)

THE EUROPEAN COMMISSION,

Having regard to the Treaty on the Functioning of the European Union,

Having regard to Regulation (EU) No 182/2011 of the European Parliament and of the Council of 16 February 2011 laying down the rules and general principles concerning mechanisms for control by Member States of the Commission's exercise of implementing powers, in particular Article 5 and Article 13(1)(c) and (e) thereof,

Having regard to Council Directive 89/106/EEC of 21 December 1988, on the approximation of laws, regulations and administrative provisions of the Member States relating to construction products, as amended by Directive 93/68/EEC, and in particular Article 20(2) thereof ,

Having regard to Regulation (EU) 305/2011 of the European Parliament and of the Council of 9 March 2011 laying down harmonised conditions for the marketing of construction products and repealing Council Directive 89/106/EEC, in particular Article 2, point 7 thereof,

Whereas:

- Directive 89/106/EEC envisages in its Article 3(2) that in order to take account of the different levels of protection for construction works that may prevail at national, regional or local level, it may be necessary to establish in the technical specifications classes corresponding to the performance of products in respect of each essential requirement.

- Regulation (EU) 305/2011 defines the term “class” in Article 2, point 7, as a range of levels, expressed as numerical values and limited by a minimum and a maximum value, of performance of a construction product.

- Commission Decision 2000/147/EC of 8 February 2000, amended by Commission Decision 2003/632/EC and by Commission Decision 2006/751/EC established such a system of classes for the reaction-to-fire performance of construction products.

- Commission Decision 2001/671/EC of 21 August 2001 implementing Council Directive 89/106/EEC, amended by Commission Decision 2005/823/EC, established such a system of classes for the external fire performance of roofs and roof coverings.

- Class F in Table 1, Class FFL in Table 2, Class FL in Table 3, Class Fca in Table 4 of the Annex to the Commission Decision 2000/147/EC and Class FROOF in the Annex to the Commission Decision 2001/671/EC are defined as “No performance determined”, representing situations where the performance of construction products is not determined at all.

- Since Class F in Table 1, Class FFL in Table 2, Class FL in Table 3, Class Fca in Table 4 of the Annex to the Commission Decision 2000/147/EC and Classes FROOF in the Annex to the Commission Decision 2001/671/EC, as currently defined, do not consist of a range of levels of performance, but rather demonstrate the lack of any level of performance determined, and since such classification decisions should not contain clauses with a view to setting obligations for the manufacturer to have his products tested for reaction to fire, these classes should be deleted from the corresponding Decisions.

- The measures provided for in this Decision are in accordance with the opinion of the Standing Committee on Construction.

HAS ADOPTED THIS DECISION:

- Article 1

1. The Commission Decision 2000/147/EC of 8 February 2000 is herewith amended so that the clauses on Class F included in Table 1, Class FFL included in Table 2, Class FL included in Table 3 and Class Fca included in Table 4 of the Annex to the Decision are deleted.

2. The Commission Decision 2001/671/EC of 21 August 2001 is herewith amended so that the Classes FROOF included in the Annex to the Decision are deleted.

Article 2

This Decision shall enter into force on the […] day following that of its publication in the Official Journal of the European Union.

- Article 3

This Decision is addressed to the Member States.

Done at Brussels, […]

For the Commission

Antonio TAJANI

Vice-President

OJ L 55, 28.2.2011, p 13.

OJ L 40, 11.2.1989, p. 12.

OJ L 220, 30.8.1993, p. 1.

OJ L 88, 4.4.2011, p. 5.

OJ L 50, 23.2.2000, p. 14.

OJ L 220, 3.9.2003, p. 5.

OJ L 305, 4.11.2006, p. 8.

OJ L 235, 4.9.2001, p. 20.

OJ L 307, 25.11.2005, p. 53.