CONSTRUCT 08/836

Information on planned Corrigendum of Decision 2004/663/EC

The following Table in point 2 of the Annex to the Decision 2004/663/EC:

| Product(s) | Intended use(s) | Level(s) or class(es) (Reaction to fire) | Attestation of conformity system(s) |
| --- | --- | --- | --- |
| Back-flow devices : air admittance valve ventilating pipework | For all use(s) when subject to regulations on reaction to fire | A1*, A2*, B*, C* | 1 |
| Kits for waste water pumping station and effluent lifting plants |  | A1**, A2**, B**, C**, D, E | 3 |
| Kits and elements for waste water treatment plants and on-site treatment equipment - Septic tanks |  | (A1 to E)***, F | 4 |
| Prefabricated drainage channel |  |  |  |
| Manholes and inspection chambers. |  |  |  |
| Step irons, ladders and handrail for manholes and inspection chambers. |  |  |  |
| Separators |  |  |  |
| Manhole tops and gully tops |  |  |  |
| System 1: See Annex III. 2.(i),to Directive 89/106/EEC without audit-testing of samples System 3: See Annex III. 2.(ii) to Directive 89/106/EEC, second possibility System 4: See Annex III.2.(ii) to Directive 89/106/EEC, third possibility * Products/ materials for which a clearly identifiable stage in the production process results in an improvement of the reaction to fire classification (e.g. an addition of fire retardants or a limiting of organic material) ** Products/ materials not covered by footnote (*). *** Products/ materials that do not require to be tested for reaction to fire (e.g. Products/materials of class A1 according to the Decision 96/603/EC, as amended). |  |  |  |

is corrected as follows:

| Product(s) | Intended use(s) | Level(s) or class(es) (Reaction to fire) | Attestation of conformity system(s) |
| --- | --- | --- | --- |
| Back-flow devices : air admittance valve ventilating pipework Kits for waste water pumping station and effluent lifting plants Kits and elements for waste water treatment plants and on-site treatment equipment - Septic tanks Prefabricated drainage channel Manholes and inspection chambers. Step irons, ladders and handrail for manholes and inspection chambers. Separators Manhole tops and gully tops | For all use(s) when subject to regulations on reaction to fire | A1*, A2*, B*, C* | 1 |
|  |  | A1**, A2**, B**, C**, D, E | 3 |
|  |  | (A1 to E)***, F | 4 |
| System 1: See Annex III. 2.(i),to Directive 89/106/EEC without audit-testing of samples System 3: See Annex III. 2.(ii) to Directive 89/106/EEC, second possibility System 4: See Annex III.2.(ii) to Directive 89/106/EEC, third possibility * Products/ materials for which a clearly identifiable stage in the production process results in an improvement of the reaction to fire classification (e.g. an addition of fire retardants or a limiting of organic material) ** Products/ materials not covered by footnote (*). *** Products/ materials that do not require to be tested for reaction to fire (e.g. Products/materials of class A1 according to the Decision 96/603/EC, as amended). |  |  |  |