Europäische Kommission

GD ENTR, I/5

Herrn Leoz-Argüelles

B-1040 Brussels

Ministerialrat Gerhard Günther

Leiter des Referats B 11

hausanschrift	Invalidenstraße 44, 10115 Berlin

postanschrift	11030 Berlin

tel	030 2008-71 10

fax	030 2008-19 73

e-mail	gerhard.guenther@bmvbs.bund.de

INTERNET	www.bmvbs.de

EN 12101 Smoke and heat control systems

betreff

Berlin, 04.05.2009

datum

B 11 – 8122.1/0

Dear Mr Leoz-Argüelles

with reference to M109 and related items I would like to give some information to the Commission Services as well as to ask for amendments of this Mandate.

1.	Information concerning EN 12101-2 "Smoke and heat control systems - Part 2: Specification for natural smoke and heat exhaust ventilators"

Construct 08/835A states with respect to this standard under the heading "Way forward": "DE to verify that solution proposed in the hEN is acceptable and inform COM and MS".

Therefore, I would like to inform you that the German concerns have been dealt with by the relevant CEN committee. Unfortunately, the solution is not completely sufficient because of the inconsistent use of the modal auxiliaries "shall", "should" and "may".

The auxiliary "shall" in Annex H.2 to H.7 should be replaced by "may" (or "should") as described e.g. in Annex H.3 or H.6.

Annex H.2 would be e.g.: "If intended modifications to the listed items are assessed to have no negative influence on the aerodynamic free area of the NSHEV, the notified testing laboratory may approve the modifications without test. If the intended modifications may have a significant influence on the declared characteristic, the modified NSHEV should be tested in accordance with Annex B and the result recorded in a new test report."

The modifications of NSHEV already placed on the market should not be assessed by any kind of notified testing laboratory, but only by the notified testing laboratory responsible for the initial type tests and with reference to the guidance paper D, chapter 5.10, by the notified certification body responsible for the certification of the NSHEV.

The present wording leads to a situation where the responsibilities of the manufacturer in the case of a change of the product are still ambiguous.

2.	Request for amendment of M109

I would like to ask the Commission Services to amend M109 with regard to the following aspects:

a	addition of the product characteristic "reaction to fire",

b	addition of product characteristics relevant for fire dampers and fire-resisting ventilation ducts and

c	modified layout with regard to the indication of the durability as a characteristic that is generally to be fulfilled with respect to the product characteristics mentioned in detail for the essential requirements 1 to 6.

To fulfill the essential requirement "Safety in case of fire" of the Construction Products Directive the product characteristic "Reaction-to-fire performance" shall be subsequently amended for the following products of the family and subfamily "Fire detection and fire alarm systems - components" according to Annex 2 of the mandate "Technical specifications for fire and smoke control installations" to be used in 23/33: space heating, cooling and air conditioning (including mechanical and natural ventilation and smoke extraction):

-	1 and 2 Smoke curtains – fixed (1) and automatic (2),

-	3 Dampers,

-	4 Ducts,

-	5 Powered Ventilators,

-	6 Natural ventilators.

Characteristics to be covered by the harmonized standard will be:

| E R. | PERFORMANCE CHARACTERISTICS | Durability |
| --- | --- | --- |
| 1 |  |  |
| 2 | FOR SMOKE CURTAINS (FIXED AND AUTOMATIC) RESISTANCE TO FIRE: - INTEGRITY E - SMOKE LEAKAGE S - MECHANICAL STABILITY ᅠREACTION TO FIRE | Y |
|  | ADDITIONAL FOR SMOKE CURTAINS (AUTOMATIC): NOMINAL ACTIVATION CONDITIONS/SENSITIVITY (thermal, pressure, smoke, flame, chemical and/or manual (as appropriate)) RESPONSE DELAY (RESPONSE TIME) OPERATIONAL RELIABILITY DEPLOYMENT SAFETY |  |
|  | FOR DAMPERS NOMINAL ACTIVATION CONDITIONS/SENSITIVITY (thermal, pressure, smoke, flame, chemical and/or manual (as appropriate)) RESPONSE DELAY (RESPONSE TIME) OPERATIONAL RELIABILITY RESISTANCE TO FIRE: - INTEGRITY E - SMOKE LEAKAGE S - MECHANICAL STABILITY - MAINTENANCE OF CROSS SECTION ᅠREACTION TO FIRE |  |
|  | FOR DUCTS RESISTANCE TO FIRE: - INTEGRITY E, INSULATION I - SMOKE LEAKAGE S - MECHANICAL STABILITY - MAINTENANCE OF CROSS SECTION ᅠREACTION TO FIRE |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |

| E R. | PERFORMANCE CHARACTERISTICS | Durability |
| --- | --- | --- |
| 1 |  |  |
| 2 | FOR POWERED AND NATURAL VENTILATORS NOMINAL ACTIVATION CONDITIONS/SENSITIVITY (thermal, pressure, smoke, flame, chemical and/or manual (as appropriate)) RESPONSE DELAY (RESPONSE TIME) OPERATIONAL RELIABILITY EFFECTIVENESS OF SMOKE / HOT GAS EXTRACTION PERFORMANCE PARAMETERS UNDER FIRE CONDITIONS RESISTANCE TO FIRE - SMOKE LEAKAGE S - MECHANICAL STABILITY ABILITY TO OPEN UNDER ENVIRONMENTAL CONDITIONS ᅠREACTION TO FIRE | Y |
|  | ADDITIONAL FOR NATURAL VENTILATORS AERODYNAMIC FREE AREA |  |
|  | FOR CONTROL PANELS AND EMERGENCY CONTROL PANELS RESPONSE DELAY (RESPONSE TIME) OPERATIONAL RELIABILITY PERFORMANCE PARAMETERS UNDER FIRE CONDITIONS |  |
|  | FOR POWER SUPPLIES OPERATIONAL RELIABILITY J PERFORMANCE PARAMETERS UNDER FIRE CONDITIONS |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |

Justification to a:

According to the German Building Law implemented by the Landesbauordnungen ('Building regulations of the Land') of the Federal Republic of Germany, construction products made of construction materials, elements and installations must be distinguished according to their reaction to fire requirements and may only be used for the construction installations, if they are at least not easily flammable (except if in combination with other construction materials they are not easily flammable).

Since the reaction to fire of construction products to be incorporated in the works was not specified when granting the mandate M109, the subsequent amendment of the mandate concerning this characteristic is required.

Justification to b:

I would like to make you aware of my letter of 24 June 2008, asking for an amendment of M109 with respect to fire dampers and fire-resisting ventilation ducts. Justifications were given there.

Justification to c:

The essential requirements have to be satisfied "during an economically reasonable working life" (Art. 3(1) CPD). Therefore, it is obvious that also the product's characteristics that are necessary to enable the works to fulfil the essential requirements have to be fulfilled during this economically reasonable working life.

This is normally indicated in the Mandates by referring to the durability in such a way that all product characteristics are covered. However, for what reasons ever this way has not been followed when drafting Mandate M109, leading to the fact that durability can be seen as not relevant for instance for resistance to fire for ducts (product family "Fire and smoke control installations – Components). Nevertheless, resistance to fire as well as the other product characteristics have to be durably satisfied. Therefore, I would like to request an amendment of Mandate M109 accordingly.

Yours sincerely

Gerhard Günther